Roark Edwards

49 14th ave SW, St. Paul, MN 55112

Tel: 651-330-1738; Fax: 651-846-4597


3/11/04
Qty: 7
Description
: Fairbanks Morse 12 cylinder
Model: 3800DS 8 1/8
Year:
1966


Meter Readings: 300,000 hr Approx


Type: Natural Gas
Dimensions: 30'L x 8'6
Condition: Excellent


Location: Kenai, Alaska

Specifications: Each engine is 12 cylinder, reciprocating, opposed piston diesel engine converted to natural gas. Each engine drives a 1365 kW, 4160 volt generator with horsepower ratings of 1950. Total capacity for all seven generators is 9555 kW or 9.5 mW.

Comments
-All engines are on skids. Used in production up until summer of 2001, and then shut down.

Model 3800DS 8 1/8

G644 - #5 SN - 38D86705xSIS M 12

G644 - #7 SN - 38D86705xSIS M 12

G644 - #1 SN - 38D86705xSIS M 12

G644 - #3 SN - 38D86705xSIS M 12

G644 - #2 SN - 38D86705xSIS M 12

G644 - #6 SN - 38D86706xSIS M 12

G644 - #4 SN - 38D86706xSIS M 12
[image: image1.wmf]
[image: image2.jpg]



[image: image3.jpg]


[image: image4.jpg]



