  GENERAL ELECTRIC OUTDOOR HOUSED  DUAL FUEL GAS TURBINE GENERATOR SETS  

2 each   18.032 MW @ ISO
TOTAL HOUR SINCE NEW , 16,100 & 9,300 

· STILL INSTALLED 
· TURBINE DATA

BRAND


              GE

MODEL



MS5001  M

CAPACITY


18.1 MWGAS @ ISO :::::    

RPM



5100

CONTROLS                                    GENERAL ELECTRIC,  MK 1  ( A MODEL )
 

ELECTRICAL 

              FULL UTILITY ELECTRICAL, WITH , METERING, RELAYS ETC.

SYNCH EQUIPMENT                   FACTORY, AUTOMATIC   :: AUTO  

                                                       SYNCHRONIZER

EXHAUST SYSTEM                      FACTORY COMPLETE 

RPM



5100

STAGES:                                          16 

EXHAUST GAS FLOW                 255.5 LB/SEC

AIR INTAKE


INCLUDED

HUMIDITY


83%

TEMP



28 c

AREA FOR TURBINE

565 METERS 

TEMP



964 f

AIR @ COMPRESSOR
              86 f  

NO. OF COMBUSTION
              10

COOLING                                      FIN / FAN

GENERATOR
GENERATOR


GE

MODEL


              ATB

INSULATION


CLASS  F

COOLED


AIR

PF



0.8

CAPACITY


24780 KVA

CYCLE


              60 HZ

VOLTAGE


13.8KV

AMPS



788 AMPS

EXCITER


280 VOLTS

EXCITER AMPS

203/212

EXCITER KW


65

EXCITER RPM

              3600

POLES


              2 POLES

AUXILIARY POWER                    FROM STATION TRANSFORMER , WITHIN UNIT

STARTING

      1 GE HITACHI W/  2300V MOTOR, WITH TORQUE CONVERTER

WEIGHTS : GENERATOR :::: 147,800 LB’S

                    TURBINE        :::: 176,000 LB’S


